## ROC Opcodes
non plus | Plus | 800
2.2 Opcode 0 – General Update .......... 2-4
2.2 Opcode 0b.............. 2-4
2.3 Opcode 2 ................. 2-8
2.4 Opcode 6: ROC300-Series with ROCPAC 2-9
2.4.2 Opcode 6a: ROC300-Series (w/FlashPAC) and FloBoss 407 ................ 2-10
2.4.3 Opcode 6b: FloBoss 103/104, FloBoss 500-Series, and RegFlo ............ 2-12
2.4.4 Opcode 6c: FloBoss 107 . 2-14
2.4.5 Opcode 6d, System Configuration .... 2-2
2.2 Opcode 6e, System Configuration .... 2-2
2.2 Opcode 6f, System Configuration... 2-2
2.5 Opcode 7 ............... 2-17
| 2.3 Opcode 7a, Read Real-time Clock 2-11 | 2.3 Opcode 7a, Read Real-time Clock 2-11
2.6 Opcode 8 ............... 2-18
8b
8c
8d
| 8e | 8e
2.7 Opcode 10............. 2-19 | 2.5 Opcode 10, Read Configurable Opcode Point Data ...................... 2-12 | 2.5 Opcode 10, Read Configurable Opcode Point Data..................... 2-13
2.8 Opcode 11............. 2-20 | 2.6 Opcode 11, Write Configurable Opcode Point Data ...................... 2-12 | 2.6 Opcode 11, Write Configurable Opcode Point Data..................... 2-14
2.9 Opcode 17............. 2-21
2.9.2 Opcode 17b
2.9.3 Opcode 17c | 2.9.3 Opcode 17c | 2.9.3 Opcode 17c
2.9.4 Opcode 17d | 2.9.4 Opcode 17d | 2.9.4 Opcode 17d
| 2.9.5 Opcode 17e | 2.9.5 Opcode 17e
2.10 Opcode 18............. 2-22
2.11 Opcode 24............. 2-23 | 2.8 Opcode 24, Store and Forward..... 2-14 | 2.8 Opcode 24, Store and Forward ... 2-16
| 2.9 Opcode 50, Request I/O Point Position ............... 2-14 | 2.9 Opcode 50, Request I/O Point Position .............. 2-17
2.10 Opcode 100, Access User-defined Information.. 2-18
2.12 Opcode 102........... 2-23
2.13 Opcode 103........... 2-24
2.14 Opcode 105........... 2-26
2.14.1 Opcode 105b....... | 2.10 Opcode 105b | 2.11 Opcode 105b
2.15 Opcode 107........... 2-28
| 2.11 Opcode 108, Request History Tag and Periodic Index .................. 2-21 | 2.12 Opcode 108, Request History Tag and Periodic Index ................ 2-21
2.13 Opcode 117, Request Weights and Measures Event Data .......... 2-22
| 2.12 Opcode 118, Request Alarm Data 2-22 | 2.14 Opcode 118, Request Alarm Data...................... 2-25
| 2.13 Opcode 119, Request Event Data 2-25 | 2.15 Opcode 119, Request Event Data ...................... 2-29
2.16 Opcode 120........... 2-28
2.16.1 Opcode 120b
2.17 Opcode 121........... 2-31
2.18 Opcode 122........... 2-33
2.19 Opcode 123........... 2-37
2.19.1 Opcode 123b
2.20 Opcode 126........... 2-39
2.21 Opcode 128........... 2-40
2.22 Opcode 130: ROC300-Series, FloBoss 407, and FloBoss 500-Series . 2-43
2.22.1 Opcode 130b FloBoss 100-Series and RegFlo ............... 2-44
2.23 Opcode 131........... 2-44
2.24 Opcode 132........... 2-45
2.25 Opcode 133........... 2-45
| 2.14 Opcode 135, Request Single History Point Data . 2-29 | 2.16 Opcode 135, Request Single History Point Data 2-34
2.26 Opcode 136........... 2-46 | 2.15 Opcode 136, Request Mutiple History Point Data .. 2-30 | 2.17 Opcode 136, Request Mutiple History Point Data . 2-36
| 2.16 Opcode 137, Request History Index for a Day .... 2-32 | 2.18 Opcode 137, Request History Index for a Day ... 2-37
| 2.17 Opcode 138, Request Daily and Periodic History for a Day .......... 2-33 | 2.19 Opcode 138, Request Daily and Periodic History for a Day......... 2-38
| 2.18 Opcode 139, History Information Data................. 2-34 | 2.20 Opcode 139, History Information Data ............... 2-39
| 2.18.1 Opcode 139b | 2.20.1 Opcode 139b
2.27 Opcode 148........... 2-47
2.28 Opcodes 150 .................. 2-48
2.28 Opcodes 151
2.29 Opcode 158........... 2-48
2.30 Opcode 160........... 2-49
2.31 Opcode 162........... 2-49
2.32 Opcode 165........... 2-50
2.32 Opcode 165b
2.33 Opcode 166........... 2-51 | 2.19 Opcode 166, Set Single Point Parameters .......... 2-35 | 2.21 Opcode 166, Set Single Point Parameters......... 2-40
2.34 Opcode 167........... 2-52 | 2.20 Opcode 167, Request Single Point Parameters .. 2-35 | 2.22 Opcode 167, Request Single Point Parameters. 2-41
2.35 Opcode 170........... 2-53
2.36 Opcode 171........... 2-54
2.37 Opcode 180........... 2-55" | 2.21 Opcode 180, Request Parameters 2-36 | 2.23 Opcode 180, Request Parameters ..................... 2-42
2.38 Opcode 181........... 2-56 | 2.22 Opcode 181, Write Parameters..... 2-36 | 2.24 Opcode 181, Write Parameters ... 2-43
2.39 Opcode 200........... 2-56
| 2.23 Opcode 203, General File Transfer | 2.25 Opcode 203, General File Transfer .................... 2-44
| 2.23.1 Opcode 203b, General File Transfer | 2.25.1 Opcode 203b, General File Transfer
| 2.23.2 Opcode 203c, General File Transfer | 2.25.2 Opcode 203c, General File Transfer
| 2.23.3 Opcode 203d, General File Transfer | 2.25.3 Opcode 203d, General File Transfer
| 2.23.4 Opcode 203e, General File Transfer | 2.25.4 Opcode 203e, General File Transfer
2.23.5 Opcode 203f, General File Transfer
| 2.23.5 Opcode 203g, General File Transfer | 2.25.5 Opcode 203g General File Transfer
2.26 Opcode 204, Long Request Event Data ............. 2-47
2.24 Opcode 205, Peer-to-Peer Network Messages ... 2-39
| 2.25 Opcode 206, Read Transaction History Data ...... 2-40 | 2.27 Opcode 206, Read Transaction History Data..... 2-52
| 2.25 Opcode 206b, Read Transaction History Data ...... 2-41 | 2.27 Opcode 206b, Read Transaction History Data..... 2-53
2.40 Opcodes 224................. 2-57 | 2.26 Opcode 224, SRBX Signal ............ 2-41 | 2.28 Opcode 224, SRBX Signal........... 2-54
2.40.1 Opcodes 225 .................. 2-57 | 2.27 Opcode 225, Acknowledge SRBX 2-42 | 2.29 Opcode 225, Acknowledge SRBX ...................... 2-54
2.41 Opcode 255 – Error Indicator....... 2-58
| 2.28 Opcode 255b, Error Indicator .......... 2-42 | 2.30 Opcode 255b, Error Indicator......... 2-55
3.2.1 Point Type 0 ................... 3-10
3.2.2 Point Type 1: Discrete Input Parameters. 3-12
3.2.3 Point Type 2: Discrete Output Parameters ..................... 3-14
3.2.4 Point Type 3: Analog Input Parameters 3-16
3.2.5 Point Type 4: Analog Output Parameters 3-24
3.2.6 Point Type 5: Pulse Input Parameters .. 3-26
3.2.7 Point Type 6: Proportional, Integral & Derivative (PID) Parameters ..... 3-29
3.2.8 Point Type 7: AGA Flow Parameters.... 3-32
3.2.9 Point Type 8: Standard History Parameters ................... 3-36
3.2.10 Point Type 9: Local Display Panel Parameters .............. 3-44
3.2.11 Point Type 10: AGA Flow Calculation Values ................ 3-45
3.2.12 Point Type 11: Tank Parameters .......... 3-47
3.2.13 Point Type 12: ROC Clock Parameters 3-48
3.2.14 Point Type 13: System Flags ................ 3-50
3.2.15 Point Type 14: Communications Ports . 3-56
3.2.16 Point Type 15: System Variables (ROC Information) ..... 3-60
3.2.17 Point Type 16: FST Parameters ........... 3-63
3.2.18 Point Type 17: Soft Point Parameters .. 3-65
3.2.19 Point Type 18: Analog Input Calibration Parameters for ROCPAC....... 3-67
3.2.20 Point Type 19: Database Parameters... 3-68
3.2.21 Point Type 20: ROC Tasks (ROC300-Series and FloBoss 407) ........... 3-70
3.2.22 Point Type 20: Diagnostic Parameters (FloBoss 107).... 3-71
3.2.23 Point Type 21: Information for User Defined Points ....... 3-92
3.2.24 Point Types 32 & 33: Modem Configuration -COMM 1 (Point Type 32) and LOI and COMM 2 (Point Type 33) (ROC300-Series and FloBoss 407)............. 3-93
3.2.25 Point Types 34 & 37: Modbus Configuration -COMM 1 (Point Type 34) and LOI and COMM 2 (Point Type 37) ..................... 3-94
3.2.26 Point Types 35 & 38: Function Configuration -COMM 1 (Point Type 35) and LOI and COMM 2 (Point Type 38) ..................... 3-96
3.2.27 Point Types 36 & 39: Host Configuration - COMM 1 (Point Type 36) and LOI and COMM 2 (Point Type 39) .......... 3-98
3.2.28 Point Type 40: Multi-variable Sensor Parameters ........ 3-100
3.2.29 Point Type 41: Run Parameters ......... 3-105
3.2.30 Point Type 42: Extra AGA Run Parameters ................. 3-111
3.2.31 Point Type 43: User List Parameters.. 3-114
3.2.32 Point Type 44: Radio Power Control Parameters......... 3-116
3.2.33 Point Type 45: Meter Calibration and Sampler Parameters ................ 3-118
3.2.34 Point Type 46: Meter Configuration Parameters .......... 3-120
3.2.35 Point Type 47: Meter Flow Parameters . 3-132
3.2.36 Point Type 48: PID Control Parameters 3-138
3.2.37 Point Type 52: Battery Parameters..... 3-142
3.2.38 Point Type 53: Modbus Configuration Parameters....... 3-143
3.2.39 Point Type 54: Modbus Function Tables ...................... 3-144
3.2.40 Point Type 55: Modbus Special Function Tables ......... 3-146"
3.2.41 Point Type 56: Analog Input Calibration Parameters.... 3-151
3.2.42 Point Type 56: Analog Input Calibration Parameters (for RegFlo) ...... 3-153
3.2.43 Point Type 57: Keypad/Login Securities Parameters ... 3-154
3.2.44 Point Type 58: Revision Information ... 3-157
3.2.45 Point Type 59: Program Flash Control Parameters...... 3-158
3.2.46 Point Type 80: Ethernet/USB Configuration Parameters (FloBoss 107) .................... 3-160
3.2.47 Point Type 80: Regulator Parameters (RegFlo Only) ... 3-165
3.2.48 Point Type 81: Logic Alarm Parameters 3-169
| 3.4.1 Point Type 82: Virtual Discrete Outputs... 3-4 | 3.4.1 Point Type 82: Virtual Discrete Outputs. 3-4
3.2.49 Point Type 83: User Analog Values .... 3-171
3.2.50 Point Type 84: User Discrete Values .. 3-172
1084 -3.4.2 Point Type 84: HART Extended Point Type ...................... 3-8
2084 - 3.4.2 Point Type 84: HART Extended Point Type ................. 3-7
3.2.51 Point Type 85: HART Parameters (FloBoss 107)......... 3-174 | 3.4.3 Point Type 85: HART Point Type........... 3-16 | 3.4.3 Point Type 85: HART Point Type...... 3-15
3.2.52 Point Type 86: Extended History Parameters............... 3-187
3.2.53 Point Type 88: BLM User List Parameters ................... 3-195
3.2.54 Point Type 89: Chart User List Parameters .................. 3-196
| 3.4.4 Point Type 91: System Variables:.......... 3-34 | 3.4.4 Point Type 91: System Variables...... 3-33
| 3.4.5 Point Type 92: Logon Parameters ......... 3-39 | 3.4.5 Point Type 92: Logon Parameters .... 3-39
3.2.55 Point Type 93: License Key Parameters ...................... 3-197 |  | 3.4.6 Point Type 93: License Key Information ..................... 3-42
3.2.56 Point Type 94: User C Program Parameters ................ 3-198 |  | 3.4.7 Point Type 94: User C++ Configuration...................... 3-44
| 3.4.6 Point Type 95: Communication Ports .... 3-42 | 3.4.8 Point Type 95: Communication Ports .. 3-46
| 3.4.7 Point Type 96: FST Parameters ............ 3-47 | 3.4.9 Point Type 96: FST Parameters ....... 3-51
| 3.4.8 Point Type 97: FST Register Tags ........ 3-50" | 3.4.10 Point Type 97: FST Register Tags ... 3-54"
3.2.57 Point Type 98: Extended Soft Point Parameters .......... 3-200 | 3.4.9 Point Type 98: Soft Point Parameters .... 3-51 | 3.4.11 Point Type 98: Soft Point Parameters . 3-55
| 3.4.10 Point Type 99: Configurable Opcode Table ..................... 3-54 | 3.4.12 Point Type 99: Configurable Opcode Table ............... 3-58
| 3.4.11 Point Type 100: Power Control Parameters ..................... 3-56 | 3.4.13 Point Type 100: Power Control Parameters ............... 3-60
| 3.4.12 Point Type 101: Discrete Inputs.............. 3-59 | 3.4.14 Point Type 101: Discrete Inputs........ 3-63
| 3.4.13 Point Type 102: Discrete Outputs ........... 3-61 | 3.4.15 Point Type 102: Discrete Outputs..... 3-65
| 3.4.14 Point Type 103: Analog Inputs................ 3-64 | 3.4.16 Point Type 103: Analog Inputs.......... 3-69
| 3.4.15 Point Type 104: Analog Outputs ............. 3-68 | 3.4.17 Point Type 104: Analog Outputs....... 3-74
| 3.4.16 Point Type 105: Pulse Inputs .................. 3-70 | 3.4.18 Point Type 105: Pulse Inputs............ 3-76
| 3.4.17 Point Type 106: RTD ....... 3-73 | 3.4.19 Point Type 106: RTD . 3-80
| 3.4.18 Point Type 107: Thermocouple............... 3-77 | 3.4.20 Point Type 107: Thermocouple......... 3-84
| 3.4.19 Point Type 108: Multi-Variable Sensor ... 3-80 | 3.4.21 Point Type 108: Multi-Variable Sensor 3-87
| 3.4.20 Point Type 109: System Analog Inputs... 3-88 | 3.4.22 Point Type 109: System Analog Inputs 3-95
| 3.4.21 Point Type 110: PID Control Parameters .. 3-93 | 3.4.23 Point Type 110: PID Control Parameters ................. 3-101
| 3.4.22 Point Type 111: Sampler/Odorizer Parameters.............. 3-100 | 3.4.24 Point Type 111: Sampler/Odorizer Parameters........ 3-108
| 3.4.23 Point Type 112: Station Parameters..... 3-101 | 3.4.25 Point Type 112: Station Parameters.. 3-109
| 3.4.24 Point Type 113: Orifice Meter Run Configuration ........... 3-108 | 3.4.26 Point Type 113: Orifice Meter Run Configuration..... 3-117
| 3.4.25 Point Type 114: Orifice Meter Run Values ..................... 3-115 | 3.4.27 Point Type 114: Orifice Meter Run Values ............... 3-124
| 3.4.26 Point Type 115: Turbine Meter Run Configuration ......... 3-119 | 3.4.28 Point Type 115: Turbine Meter Run Configuration ... 3-130
| 3.4.27 Point Type 116: Turbine Meter Run Values ................... 3-126 | 3.4.29 Point Type 116: Turbine Meter Run Values.............. 3-137
3.2.58 Point Type 117: Modbus Configuration Parameters..... 3-202 | 3.4.28 Point Type 117: Modbus Configuration Parameters....... 3-130 | 3.4.30 Point Type 117: Modbus Configuration Parameters. 3-142
3.2.59 Point Type 118: Modbus Register Mapping.................. 3-205 | 3.4.29 Point Type 118: Modbus Register to TLP Mapping ........ 3-133 | 3.4.31 Point Type 118: Modbus Register to TLP Mapping.. 3-145
| 3.4.30 Point Type 119: Modbus Event, Alarm, and History Table .................... 3-147 | 3.4.32 Point Type 119: Modbus Event, Alarm, and History Table.............. 3-158
3.2.60 Point Type 120: Modbus Master Modem Configuration ...................... 3-213 | 3.4.31 Point Type 120: Modbus Master Modem Configuration . 3-156 | 3.4.33 Point Type 120: Modbus Master Modem Configuration .................. 3-168
3.2.61 Point Type 121: Modbus Master Table .. 3-214 | 3.4.32 Point Type 121: Modbus Master Table. 3-158 | 3.4.34 Point Type 121: Modbus Master Table..................... 3-170
3.2.62 Point Type 122: DS800 Control and Diagnostic Parameters .............. 3-223 | 3.4.33 Point Type 122: DS800 Configuration .. 3-169 | 3.4.35 Point Type 122: DS800 Configuration ...................... 3-181
| 3.4.34 Point Type 123: Security – Group Configuration ............ 3-172 | 3.4.36 Point Type 123: Security – Group Configuration ...... 3-184
| 3.4.35 Point Type 124: History Segment Configuration ............ 3-174 | 3.4.37 Point Type 124: History Segment Configuration ...... 3-186
| 3.4.36 Point Type 125: History Segment 0 Point Configuration 3-176 | 3.4.38 Point Type 125: History Segment 0 Point Configuration ................. 3-188
| 3.4.37 Point Type 126: History Segment 1 Point Configuration 3-178 | 3.4.39 Point Type 126: History Segment 1 Point Configuration ................. 3-190
| 3.4.38 Point Type 127: History Segment 2 Point Configuration 3-180 | 3.4.40 Point Type 127: History Segment 2 Point Configuration ................. 3-192
| 3.4.39 Point Type 128: History Segment 3 Point Configuration 3-182 | 3.4.41 Point Type 128: History Segment 3 Point Configuration ................. 3-194
| 3.4.40 Point Type 129: History Segment 4 Point Configuration 3-184 | 3.4.42 Point Type 129: History Segment 4 Point Configuration ................. 3-196
| 3.4.41 Point Type 130: History Segment 5 Point Configuration 3-186 | 3.4.43 Point Type 130: History Segment 5 Point Configuration ................. 3-198
| 3.4.42 Point Type 131: History Segment 6 Point Configuration 3-188 | 3.4.44 Point Type 131: History Segment 6 Point Configuration ................. 3-200
| 3.4.43 Point Type 132: History Segment 7 Point Configuration 3-190 | 3.4.45 Point Type 132: History Segment 7 Point Configuration ................. 3-202
| 3.4.44 Point Type 133: History Segment 8 Point Configuration 3-192 | 3.4.46 Point Type 133: History Segment 8 Point Configuration ................. 3-204
| 3.4.45 Point Type 134: History Segment 9 Point Configuration 3-194 | 3.4.47 Point Type 134: History Segment 9 Point Configuration ................. 3-206
| 3.4.46 Point Type 135: History Segment 10 Point Configuration ..................... 3-196 | 3.4.48 Point Type 135: History Segment 10 Point Configuration ............... 3-208
| 3.4.47 Point Type 136: ROC Clock.................. 3-198 | 3.4.49 Point Type 136: ROC Clock............ 3-210
| 3.4.48 Point Type 137: Internet Configuration Parameters ....... 3-200 | 3.4.50 Point Type 137: Internet Configuration Parameters . 3-212
| 3.4.49 Point Type 138: User C++ Host Parameters .................. 3-207 | 3.4.51 Point Type 138: User C++ Host Parameters ............ 3-220
| 3.4.50 Point Type 139: Smart I/O Module Information .............. 3-208 | 3.4.52 Point Type 139: Smart I/O Module Information ........ 3-221
| 3.4.51 Point Type 140: Alternating Current Input / Output ........ 3-214 | 3.4.53 Point Type 140: Alternating Current Input / Output .. 3-227
| 3.4.52 Point Type 141: Advance Pulse Module.. 3-223 | 3.4.54 Point Type 141: Advance Pulse Module................... 3-236
| 3.4.53 Point Type 142: History Segment 11 Point Configuration ..................... 3-236 | 3.4.55 Point Type 142: History Segment 11 Point Configuration ............... 3-247
| 3.4.54 Point Type 143: History Segment 12 Point Configuration ..................... 3-238 | 3.4.56 Point Type 143: History Segment 12 Point Configuration ............... 3-249
| 3.4.55 Point Type 144: Transactional History Configuration Point Type .......... 3-240 | 3.4.57 Point Type 144: Transactional History Configuration ...................... 3-251
| 3.4.56 Point Type 145: Transactional History Point Configuration Point Type. 3-241 | 3.4.58 Point Type 145: Transactional History Point Configuration............. 3-252
3.2.63 Point Type 172: RTU Network Discovery List Point Type ................... 3-225 | 3.4.57 Point Type 172: RTU Network Discovery List Point Type ..................... 3-242 | 3.4.59 Point Type 172: RTU Network Discovery List Point Configuration.. 3-253
3.2.64 Point Type 173: Network Commissioned List Point Type.................... 3-226 | 3.4.58 Point Type 173: Network Commissioned List Point Type...................... 3-243 | 3.4.60 Point Type 173: Network Commissioned List........... 3-254
3.2.65 Point Type 174: Network Export Data 3-228 | 3.4.59 Point Type 174: Network Export Data Point Type .......... 3-245 | 3.4.61 Point Type 174: Network Export Data ...................... 3-256
3.2.66 Point Type 175: Network Import Data. 3-229 | 3.4.60 Point Type 175: Network Import Data Point Type .......... 3-246 | 3.4.62 Point Type 175: Network Import Data 3-257
3.2.67 Point Type 176: IEC62591 Live List Parameters.......... 3-230 | 3.4.61 Point Type 176: IEC62591 Live List Point Type ............. 3-247 | 3.4.63 Point Type 176: IEC62591 Live List .. 3-258
3.2.68 Point Type 177: IEC62591 Commissioned List Parameters ............... 3-231" | 3.4.62 Point Type 177: IEC62591 Commissioned List Point Type ................... 3-248" | 3.4.64 Point Type 177: IEC62591 Commissioned List ........ 3-259
3.4.65 Point Type 200: Liquid Preferences 3-265
3.4.66 Point Type 201: Liquid Products..... 3-273
3.4.67 Point Type 202: Density Interface... 3-278
3.4.68 Point Type 203: Liquid Station........ 3-285"
3.4.69 Point Type 204: Liquid Meters ........ 3-301
3.4.70 Point Type 205: Liquid Meters Extended.................. 3-327
3.4.71 Point Type 206: Prover Configuration 3-330
3.4.72 Point Type 207: Prover Trial Report .. 3-356
3.4.73 Point Type 208: Prover Final Report . 3-366
3.4.74 Point Type 210: Batch Station Configuration............ 3-377
3.4.75 Point Type 211: Station Current Batch ..................... 3-386
3.4.76 Point Type 212: Station Batch History ...................... 3-394
3.4.77 Point Type 213: Meter Current Batch 3-405
3.4.78 Point Type 214: Meter Batch History . 3-413
3.4.79 Point Type 215: Station Batch Queue Configuration 3-423
3.4.80 Point Type 216: Station Batch Queue ...................... 3-429
3.4.81 Point Type 219: Reporting Program .. 3-433