## Supported Types
|  |  | Non-Plus | Non-Plus | Non-Plus | Non-Plus | Non-Plus | Non-Plus | Non-Plus | ROC Plus |  | # ROC 800L |  | Surface Control |  | Tank Manager |  | Well Optimization |  | Production Manager
| # ROC Protocol |  | ROC300-Series FlashPAC | ROC300-Series ROCPAC | FloBoss 103/104 | FloBoss 107 | FloBoss 407 | FloBoss 500-Series | RegFlo | Type | Desc | Type | Desc | Type | Desc | Type | Desc | Type | Desc | Type | Desc
0 | 0 | Configurable Opcode Parameters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A
1 | 1 | Discrete Input Parameters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | N/A | 1 | N/A | 1 | N/A | 1 | N/A | 1 | N/A | 1 | N/A
2 | 2 | Discrete Output Parameters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | N/A | 2 | N/A | 2 | N/A | 2 | N/A | 2 | N/A | 2 | N/A
3 | 3 | Analog Input Parameters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3 | N/A | 3 | N/A | 3 | N/A | 3 | N/A | 3 | N/A | 3 | N/A
4 | 4 | Analog Output Parameters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | N/A | 4 | N/A | 4 | N/A | 4 | N/A | 4 | N/A | 4 | N/A
5 | 5 | Pulse Input Parameters | 1 | 1 | 1 | 1 | 1 | 1 |  | 5 | N/A | 5 | N/A | 5 | N/A | 5 | N/A | 5 | N/A | 5 | N/A
6 | 6 | Proportional Integral & Derivative (PID) Parameters | 1 | 1 | 1 | 1 | 1 | 1 |  | 6 | N/A | 6 | N/A | 6 | N/A | 6 | N/A | 6 | N/A | 6 | N/A
7 | 7 | AGA Flow Parameters | 1 | 1 | 1 | 1 | 1 | 1 |  | 7 | N/A | 7 | N/A | 7 | N/A | 7 | N/A | 7 | N/A | 7 | N/A
8 | 8 | Standard History Parameters | 1 | 1 | 1 | 1 |  | 1 | 1 | 8 | N/A | 8 | N/A | 8 | N/A | 8 | N/A | 8 | N/A | 8 | N/A
9 | 9 | Local Display Panel Parameters | 1 | 1 | [5 empty] | 9 | N/A | 9 | N/A | 9 | N/A | 9 | N/A | 9 | N/A | 9 | N/A
10 | 10 | AGA Flow Calculation Values | 1 | 1 | 1 | 1 |  | 1 |  | 10 | N/A | 10 | N/A | 10 | N/A | 10 | N/A | 10 | N/A | 10 | N/A
11 | 11 | Tank Parameters | [7 empty] | 11 | N/A | 11 | N/A | 11 | N/A | 11 | N/A | 11 | N/A | 11 | N/A
12 | 12 | ROC Clock Parameters | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 12 | N/A | 12 | N/A | 12 | N/A | 12 | N/A | 12 | N/A | 12 | N/A
13 | 13 | System Flags | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 13 | N/A | 13 | N/A | 13 | N/A | 13 | N/A | 13 | N/A | 13 | N/A
14 | 14 | Communications Ports | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 14 | N/A | 14 | N/A | 14 | N/A | 14 | N/A | 14 | N/A | 14 | N/A
15 | 15 | System Variables (ROC Information) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 15 | N/A | 15 | N/A | 15 | N/A | 15 | N/A | 15 | N/A | 15 | N/A
16 | 16 | FST Parameters | 1 | 1 | 1 | 1 | 1 | 1 |  | 16 | N/A | 16 | N/A | 16 | N/A | 16 | N/A | 16 | N/A | 16 | N/A
17 | 17 | Soft Point Parameters | 1 | 1 | 1 | 1 | 1 | 1 |  | 17 | N/A | 17 | N/A | 17 | N/A | 17 | N/A | 17 | N/A | 17 | N/A
18 | 18 | Analog Input Calibration Parameters for ROCPAC | [7 empty] | 18 | N/A | 18 | N/A | 18 | N/A | 18 | N/A | 18 | N/A | 18 | N/A
19 | 19 | Database Parameters | 1 | 1 | 1 | 1 | 1 | 1 |  | 19 | N/A | 19 | N/A | 19 | N/A | 19 | N/A | 19 | N/A | 19 | N/A
20 | 20 | ROC Tasks (ROC300-Series and FloBoss 407) | 1 | 1 | [5 empty] | 20 | N/A | 20 | N/A | 20 | N/A | 20 | N/A | 20 | N/A | 20 | N/A
| 20 | Diagnostic Parameters (FloBoss 107) | 1 | 1 |  |  |  |  | 1 | 20 | N/A | 20 | N/A | 20 | N/A | 20 | N/A | 20 | N/A | 20 | N/A
21 | 21 | Information for User Defined Points | 1 | 1 | 1 | 1 | 1 |  | No more types | 21 | N/A | 21 | N/A | 21 | N/A | 21 | N/A | 21 | N/A | 21 | N/A
22 | 22 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 22 | N/A | 22 | N/A | 22 | N/A | 22 | N/A | 22 | N/A | 22 | N/A
23 | 23 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 23 | N/A | 23 | N/A | 23 | N/A | 23 | N/A | 23 | N/A | 23 | N/A
24 | 24 | Reserved | 1 | 1 | [5 empty] | 24 | N/A | 24 | N/A | 24 | N/A | 24 | N/A | 24 | N/A | 24 | N/A
25 | 25 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 25 | N/A | 25 | N/A | 25 | N/A | 25 | N/A | 25 | N/A | 25 | N/A
26 | 26 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 26 | N/A | 26 | N/A | 28 | Action Blocks | 26 | N/A | 26 | N/A | 26 | N/A
27 | 27 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 27 | N/A | 27 | N/A | 27 | N/A | 27 | N/A | 27 | N/A | 27 | N/A
28 | 28 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 28 | N/A | 28 | N/A | 28 | N/A | 28 | N/A | 28 | N/A | 28 | N/A
29 | 39 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 39 | N/A | 39 | N/A | 29 | N/A | 29 | N/A | 29 | N/A | 29 | N/A
30 | 30 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 30 | N/A | 30 | N/A | 30 | N/A | 30 | N/A | 30 | N/A | 30 | N/A
31 | 31 | User Defined Points | 1 | 1 | 1 | 1 | 1 |  |  | 31 | N/A | 31 | N/A | 31 | Utilities | 31 | N/A | 31 | N/A | 31 | N/A
32 | 32 | Modem Configuration -COMM 1 (Point Type 32) and LOI and COMM 2 (Point Type 33) (ROC300-Series and FloBoss 407) | 1 | 1 | 1 | 1 | 1 |  |  | 32 | N/A | 32 | N/A | 32 | N/A | 32 | N/A | 32 | N/A | 32 | N/A
33 | 33 | Modem Configuration -COMM 1 (Point Type 32) and LOI and COMM 2 (Point Type 33) (ROC300-Series and FloBoss 407) | 1 | 1 | 1 | 1 | 1 |  |  | 33 | N/A | 33 | N/A | 33 | N/A | 33 | N/A | 33 | N/A | 33 | N/A
34 | 34 | Modbus Configuration -COMM 1 (Point Type 34) and LOI and COMM 2 (Point Type 37) | 1 | 1 | 1 | 1 | 1 |  |  | 34 | N/A | 34 | N/A | 34 | N/A | 34 | N/A | 34 | N/A | 34 | N/A
35 | 35 | Function Configuration -COMM 1 (Point Type 35) and LOI and COMM 2 (Point Type 38) | 1 | 1 | 1 | 1 | 1 |  |  | 35 | N/A | 35 | N/A | 35 | N/A | 35 | N/A | 35 | N/A | 35 | N/A
36 | 36 | Host Configuration - COMM 1 (Point Type 36) and LOI and COMM 2 (Point Type 39) | 1 | 1 | 1 | 1 | 1 |  |  | 36 | N/A | 36 | N/A | 36 | N/A | 36 | N/A | 36 | N/A | 36 | N/A
37 | 37 | Modbus Configuration -COMM 1 (Point Type 34) and LOI and COMM 2 (Point Type 37) | 1 | 1 | 1 | 1 | 1 |  |  | 37 | N/A | 37 | N/A | 37 | N/A | 37 | N/A | 37 | N/A | 37 | N/A
38 | 38 | Function Configuration -COMM 1 (Point Type 35) and LOI and COMM 2 (Point Type 38) | 1 | 1 | 1 | 1 | 1 |  |  | 38 | N/A | 38 | N/A | 38 | N/A | 38 | N/A | 38 | N/A | 38 | N/A
39 | 39 | Host Configuration - COMM 1 (Point Type 36) and LOI and COMM 2 (Point Type 39) | 1 | 1 | 1 | 1 | 1 |  |  | 39 | N/A | 39 | N/A | 39 | N/A | 39 | N/A | 39 | N/A | 39 | N/A
40 | 40 | Multi-variable Sensor Parameters | 1 |  | 1 | 1 | 1 |  |  | 40 | N/A | 40 | N/A | 40 | N/A | 40 | N/A | 40 | N/A | 40 | N/A
41 | 41 | Run Parameters | 1 |  | 1 | 1 | 1 |  |  | 41 | N/A | 41 | N/A | 41 | N/A | 41 | N/A | 41 | N/A | 41 | N/A
42 | 42 | Extra AGA Run Parameters | 1 |  | 1 | 1 | 1 | 1 |  | 42 | N/A | 42 | N/A | 42 | N/A | 42 | N/A | 42 | N/A | 42 | N/A
43 | 43 | User List Parameters |  |  | 1 | 1 | 1 | 1 |  | 43 | N/A | 43 | N/A | 43 | N/A | 43 | N/A | 43 | N/A | 43 | N/A
44 | 44 | Radio Power Control Parameters | 1 |  | 1 | 1 | 1 | 1 |  | 44 | N/A | 44 | N/A | 44 | N/A | 44 | N/A | 44 | N/A | 44 | N/A
45 | 45 | Meter Calibration and Sampler Parameters |  |  | 1 | 1 | 1 | 1 |  | 45 | N/A | 45 | N/A | 45 | N/A | 45 | N/A | 45 | N/A | 45 | N/A
46 | 46 | Meter Configuration Parameters |  |  | 1 | 1 | 1 | 1 |  | 46 | N/A | 46 | N/A | 46 | N/A | 46 | N/A | 46 | N/A | 46 | N/A
47 | 47 | Meter Flow Parameters |  |  | 1 | 1 | 1 | 1 |  | 47 | N/A | 47 | N/A | 47 | N/A | 47 | N/A | 47 | N/A | 47 | N/A
48 | 48 | PID Control Parameters |  |  | 1 | 1 | 1 | 1 |  | 48 | N/A | 48 | N/A | 48 | N/A | 48 | N/A | 48 | N/A | 48 | N/A
49 | 49 | Upload to Disk |  |  | 1 | 1 | 1 | 1 |  | 49 | N/A | 49 | N/A | 49 | N/A | 49 | N/A | 49 | N/A | 49 | N/A
50 | 50 | Download to ROC | 1 | 1 | 1 | 1 | 1 | 1 |  | 50 | N/A | 50 | N/A | 50 | N/A | 50 | N/A | 50 | N/A | 50 | N/A
51 | 51 | N/A | [7 empty] | 51 | N/A | 51 | N/A | 51 | N/A | 51 | N/A | 51 | N/A | 51 | N/A
52 | 52 | Battery Parameters | [5 empty] | 1 |  | 52 | N/A | 52 | N/A | 52 | N/A | 52 | N/A | 52 | N/A | 52 | N/A
53 | 53 | Modbus Configuration Parameters |  |  | 1 |  |  | 1 |  | 53 | N/A | 53 | N/A | 53 | N/A | 53 | N/A | 53 | N/A | 53 | N/A
54 | 54 | Modbus Function Tables |  |  | 1 |  |  | 1 |  | 54 | N/A | 54 | N/A | 54 | N/A | 54 | N/A | 54 | N/A | 54 | N/A
55 | 55 | Modbus Special Function Tables |  |  | 1 | 1 |  | 1 |  | 55 | N/A | 55 | N/A | 55 | N/A | 55 | N/A | 55 | N/A | 55 | N/A
56 | 56 | Analog Input Calibration Parameters |  |  | 1 |  | 1 | 1 |  | 56 | N/A | 56 | N/A | 56 | N/A | 56 | N/A | 56 | N/A | 56 | N/A
| 56 | Analog Input Calibration Parameters (for RegFlo) | 1 |  | 1 |  |  |  |  | 56 | N/A | 56 | N/A | 56 | N/A | 56 | N/A | 56 | N/A | 56 | N/A
57 | 57 | Keypad/Login Securities Parameters | 1 |  | 1 | 1 | 1 | 1 |  | 57 | N/A | 57 | N/A | 57 | N/A | 57 | N/A | 57 | N/A | 57 | N/A
58 | 58 | Revision Information |  |  | 1 | 1 |  | 1 |  | 58 | N/A | 58 | N/A | 58 | N/A | 58 | N/A | 58 | N/A | 58 | N/A
59 | 59 | Program Flash Control Parameters | 1 |  | 1 | 1 | 1 | 1 |  | 59 | N/A | 59 | N/A | 59 | N/A | 59 | N/A | 59 | N/A | 59
| 60 | N/A | No more types | No more types |  | 1 |  | No more types |  | 60 | N/A | 60 | N/A | 60 | N/A | 60 | PMTM Units | 60 | N/A | 60
| 61 | N/A |  |  |  | 1 |  |  |  | 61 | N/A | 61 | N/A | 61 | N/A | 61 | N/A | 61 | N/A | 61
| 62 | N/A |  |  |  | 1 |  |  |  | 62 | N/A | 62 | N/A | 62 | N/A | 62 | N/A | 62 | N/A | 62
| 63 | N/A |  |  |  | 1 |  |  |  | 63 | N/A | 63 | N/A | 63 | N/A | 63 | N/A | 63 | N/A | 63
| 64 | N/A |  |  |  | 1 |  |  |  | 64 | N/A | 64 | N/A | 64 | N/A | 64 | N/A | 64 | N/A | 64
| 65 | N/A |  |  |  | 1 |  |  |  | 65 | N/A | 65 | N/A | 65 | N/A | 65 | N/A | 65 | N/A | 65
| 66 | N/A |  |  |  | 1 |  |  |  | 66 | N/A | 66 | N/A | 66 | Action Blocks | 66 | N/A | 66 | N/A | 66
| 67 | N/A |  |  |  | 1 |  |  |  | 67 | N/A | 67 | N/A | 67 | N/A | 67 | N/A | 67 | N/A | 67
| 68 | N/A |  |  |  | 1 |  |  |  | 68 | N/A | 68 | N/A | 68 | N/A | 68 | N/A | 68 | N/A | 68
| 69 | N/A |  |  |  | 1 |  |  |  | 69 | N/A | 69 | N/A | 69 | N/A | 69 | N/A | 69 | N/A | 69
| 70 | N/A |  |  |  | 1 |  |  |  | 70 | N/A | 70 | N/A | 70 | N/A | 70 | N/A | 70 | PMWO Enhanced Operate Parameters | 70
| 71 | N/A |  |  |  | 1 |  |  |  | 71 | N/A | 71 | N/A | 71 | Utilities | 71 | N/A | 71 | N/A | 71
| 72 | N/A |  |  |  | 1 |  |  |  | 72 | N/A | 72 | N/A | No more types |  | 72 | N/A | 72 | PMWO Units | 72
| 73 | N/A |  |  |  | 1 |  |  |  | 73 | N/A | 73 | N/A |  |  | 73 | N/A | 73 |  | 73 | Choke Segments
| 74 | N/A |  |  |  | 1 |  |  |  | 74 | N/A | 74 | N/A |  |  | 74 | N/A | 74 |  | 74 | Choke Control
| 75 | N/A |  |  |  | 1 |  |  |  | 75 | N/A | 75 | N/A |  |  | 75 | N/A | 75 |  | 75
| 76 | N/A |  |  |  | 1 |  |  |  | 76 | N/A | 76 | N/A |  |  | 76 | N/A | 76 |  | 76 | PID Blocks
| 77 | N/A |  |  |  | 1 |  |  |  | 77 | N/A | 77 | N/A |  |  | 77 | N/A | 77 |  | 77 | Choke Control Part 2
| 78 | N/A | [7 empty] | 78 | N/A | 78 | N/A |  |  | 78 | N/A | 78 |  | 78
| 79 | N/A | [7 empty] | 79 | N/A | 79 | N/A |  |  | 79 | N/A | 79 |  | 79
| 80 | Ethernet/USB Configuration Parameters (FloBoss 107) |  |  |  | 1 |  |  |  | 80 | N/A | 80 | N/A |  |  | 80 | N/A | 80 |  | 80
| 80 | Ethernet/USB Configuration Parameters (RebgFlo) | [7 empty] | 80 | N/A | 80 | N/A |  |  | 80 | N/A
| 81 | Logic Alarm Parameters | [7 empty] | 81 | N/A | 81 | N/A |  |  | 81 | N/A | 81 |  | 81
| 82 | N/A | [7 empty] | 82 | Virtual Discrete Outputs | 82 | Virtual Discrete Outputs |  |  | 82 | N/A | 82 |  | 82
| 83 | provides user analog values | [7 empty] | 83 | N/A | 83 | N/A |  |  | 83 | N/A | 83 |  | 83
| 84 | User Discrete Values | [7 empty] | 84 | HART Extended Point Type | 84 | N/A |  |  | 84 | N/A | 84 |  | 84
| 85 | HART Parameters (FloBoss 107) |  |  |  |  | 1 |  |  | 85 | HART Parameters (FloBoss 107) | 85 | N/A |  |  | 85 | N/A | 85 |  | 85
| 86 | Extended History Parameters |  |  | 1 | 1 | No more types |  |  | 86 | N/A | 86 | N/A |  |  | 86 | N/A | 86 |  | 86
| 87 | N/A |  |  | No more types |  |  |  |  | 87 | N/A | 87 | N/A |  |  | 87 | N/A | 87 |  | 87
| 88 | BLM User List Parameters |  |  |  | 1 |  |  |  | 88 | N/A | 88 | N/A |  |  | 88 | N/A | 88 |  | 88
| 89 | Chart User List Parameters |  |  |  | 1 |  |  |  | 89 | N/A | 89 | N/A |  |  | 89 | N/A | 89 |  | 89
| 90 | N/A | [7 empty] | 90 | N/A | 90 | N/A |  |  | 90 | N/A | 90 |  | 90
| 91 | N/A | [7 empty] | 91 | System Variables: | 91 | System Variables EXTENDED |  |  | 91 | N/A | 91 |  | 91
| 92 | N/A |  |  |  | 1 |  |  |  | 92 | Logon Parameters | 92 | License Key Parameters |  |  | 92 | N/A | 92 |  | 92
| 93 | License Key Parameters |  |  |  | 1 |  |  |  | 93 | N/A | 93 | N/A |  |  |  | N/A | 93 |  | 93
| 94 | User C Program Parameters | [7 empty] | 94 | N/A | 94 | User C++ Program Parameters |  |  |  | N/A | 94 |  | 94
| 95 | N/A | [7 empty] | 95 | Communication Ports | 95 | FST Parameters |  |  | 95 | N/A | 95 |  | 95
| 96 | N/A | [7 empty] | 96 | FST Parameters | 96 | N/A |  |  | 96 | N/A | 96 |  | 96
| 97 | N/A |  |  |  | 1 |  |  |  | 97 | FST Register Tags | 97 | N/A |  |  | 97 | N/A | 97 |  | 97
| 98 | Soft Point Parameters - Non Plus | [7 empty] | 98 | Soft Point Parameters ROC800 | 98 | N/A |  |  | 98 | N/A | 98 |  | 98
| 99 | N/A | [7 empty] | 99 | Configurable Opcode Table | 99 | N/A |  |  | 99 | N/A | 99 |  | 99
| 100 | N/A | [7 empty] | 100 | Power Control Parameters | 100 | N/A |  |  | 100 | N/A | 100 |  | 100
| 101 | N/A | [7 empty] | 101 | Discrete Inputs | 101 | N/A |  |  | 101 | N/A | 101 |  | 101
| 102 | N/A | [7 empty] | 102 | Discrete Outputs | 102 | N/A |  |  | 102 | N/A | 102 |  | 102
| 103 | N/A | [7 empty] | 103 | Analog Inputs | 103 | Analog Inputs |  |  | 103 | N/A | 103 |  | 103
| 104 | N/A | [7 empty] | 104 | Analog Outputs | 104 | N/A |  |  | 104 | N/A | 104 |  | 104
| 105 | N/A | [7 empty] | 105 | Pulse Inputs | 105 | N/A |  |  | 105 | N/A | 105 |  | 105
| 106 | N/A | [7 empty] | 106 | RTD | 106 | N/A |  |  | 106 | N/A | 106 |  | 106
| 107 | N/A | [7 empty] | 107 | Thermocouple | 107 | N/A |  |  | 107 | N/A | 107 |  | 107
| 108 | N/A | [7 empty] | 108 | Multi-Variable Sensor | 108 | Multi-Variable Sensor |  |  | 108 | N/A | 108 |  | 108
| 109 | N/A | [7 empty] | 109 | System Analog Inputs | 109 | N/A |  |  | 109 | N/A | 109 |  | 109
| 110 | N/A | [7 empty] | 110 | PID Control Parameters | 110 | N/A |  |  | 110 | N/A | 110 |  | 110
| 111 | N/A | [7 empty] | 111 | Sampler/Odorizer Parameters | 111 | N/A |  |  | 111 | N/A | 111 |  | 111
| 112 | N/A | [7 empty] | 112 | Station Parameters | 112 | N/A |  |  | 112 | N/A | 112 |  | 112
| 113 | N/A | [7 empty] | 113 | Orifice Meter Run Configuration | 113 | Orifice Meter Run Configuration |  |  | 113 | N/A | 113 |  | 113
| 114 | N/A | [7 empty] | 114 | Orifice Meter Run Values | 114 | Orifice Meter Run Values |  |  | 114 | N/A | 114 |  | 114
| 115 | N/A | [7 empty] | 115 | Turbine Meter Run Configuration | 115 | N/A |  |  | 115 | N/A | 115 |  | 115
| 116 | N/A | [7 empty] | 116 | Turbine Meter Run Values | 116 | Turbine Meter Run Values |  |  | 116 | N/A | 116 |  | 116
| 117 | Modbus Configuration Parameters |  |  |  | 1 |  |  |  | 117 | Modbus Configuration Parameters | 117 | N/A |  |  | 117 | N/A | 117 |  | 117
| 118 | Modbus Register Mapping |  |  |  | 1 |  |  |  | 118 | Modbus Register Mapping | 118 | N/A |  |  | 118 | N/A | 118 |  | 118
| 119 | N/A | [7 empty] | 119 | Modbus Event Alarm and History Table | 119 | N/A |  |  | 119 | N/A | 119 |  | 119
| 120 | Modbus Master Modem Configuration |  |  |  | 1 |  |  |  | 120 | Modbus Master Modem Configuration | 120 | N/A |  |  | 120 | N/A | 120 |  | 120
| 121 | Modbus Master Table |  |  |  | 1 |  |  |  | 121 | Modbus Master Table | 121 | N/A |  |  | 121 | N/A | 121 |  | 121
| 122 | DS800 Control and Diagnostic Parameters |  |  |  | 1 |  |  |  | 122 | Parameters used to configure DS800. | 122 | N/A |  |  | 122 | N/A | 122 |  | 122
| 123 | N/A | [7 empty] | 123 | Security ? Group Configuration | 123 | N/A |  |  | 123 | N/A | 123 |  | 123
| 124 | N/A | [7 empty] | 124 | History Segment Configuration | 124 | N/A |  |  | 124 | N/A | 124 |  | 124
| 125 | N/A | [7 empty] | 125 | provides the history configuration parameters for History Segment 0. | 125 | N/A |  |  | 125 | N/A | 125 |  | 125
| 126 | N/A | [7 empty] | 126 | provides the history configuration parameters for History Segment 1. | 126 | N/A |  |  | 126 | N/A | 126 |  | 126
| 127 | N/A | [7 empty] | 127 | provides the history configuration parameters for History Segment 2 | 127 | N/A |  |  | 127 | N/A | 127 |  | 127
| 128 | N/A | [7 empty] | 128 | provides the history configuration parameters for History Segment 3. | 128 | N/A |  |  | 128 | N/A | 128 |  | 128
| 129 | N/A | [7 empty] | 129 | provides the history configuration parameters for History Segment 4. | 129 | N/A |  |  | 129 | N/A | 129 |  | 129
| 130 | N/A | [7 empty] | 130 | provides the history configuration parameters for History Segment 5. | 130 | N/A |  |  | 130 | N/A | 130 |  | 130
| 131 | N/A | [7 empty] | 131 | provides the history configuration parameters for History Segment 6. | 131 | N/A |  |  | 131 | N/A | 131 |  | 131
| 132 | N/A | [7 empty] | 132 | provides the history configuration parameters for History Segment 7. | 132 | N/A |  |  | 132 | N/A | 132 |  | 132
| 133 | N/A | [7 empty] | 133 | provides the history configuration parameters for History Segment 8 | 133 | N/A |  |  | 133 | N/A | 133 |  | 133
| 134 | N/A | [7 empty] | 134 | provides the history configuration parameters for History Segment 9 | 134 | N/A |  |  | 134 | N/A | 134 |  | 134
| 135 | N/A | [7 empty] | 135 | provides the history configuration parameters for History Segment 10. | 135 | N/A |  |  | 135 | N/A | 135 |  | 135
| 136 | N/A | [7 empty] | 136 | provides the parameters for configuring the ROC real-time clock time and date. | 136 | N/A |  |  | 136 | N/A | 136 |  | 136
| 137 | N/A | [7 empty] | 137 | provides configuration parameters for internet communications. | 137 | N/A |  |  | 137 | N/A | 137 |  | 137
| 138 | N/A | [7 empty] | 138 | User C++ Host Parameters | 138 | N/A |  |  | 138 | N/A | 138 |  | 138
| 139 | N/A | [7 empty] | 139 | Smart I/O Module Information | 139 | N/A |  |  | 139 | N/A | 139 |  | 139
| 140 | N/A | [7 empty] | 140 | Alternating Current Input / Output | 140 | N/A |  |  | 140 | N/A | 140 |  | 140
| 141 | N/A | [7 empty] | 141 | Advance Pulse Module | 141 | Advance Pulse Module |  |  | 141 | N/A | 141 |  | 141
| 142 | N/A | [7 empty] | 142 | provides the parameters for configuring History Segment 11. | 142 | N/A |  |  | 142 | N/A | 142 |  | 142
| 143 | N/A | [7 empty] | 143 | provides the parameters for History Segment 12. | 143 | N/A |  |  | 143 | N/A | 143 |  | 143
| 144 | N/A | [7 empty] | 144 | provides information for configuring transactional history. | 144 | N/A |  |  | 144 | N/A | 144 |  | 144
| 145 | N/A | [7 empty] | 145 | Transactional History Point Configuration Point Type | 145 | N/A |  |  | 145 | N/A | 145 |  | 145
| 146 | N/A | [7 empty] | 146 | N/A | 146 | N/A |  |  | 146 | N/A | 146 |  | 146
| 147 | N/A | [7 empty] | 147 | N/A | 147 | N/A |  |  | 147 | N/A | 147 |  | 147
| 148 | N/A | [7 empty] | 148 | N/A | 148 | N/A |  |  | 148 | N/A | 148 |  | 148
| 149 | N/A | [7 empty] | 149 | N/A | 149 | N/A |  |  | 149 | N/A | 149 |  | 149
| 150 | N/A | [7 empty] | 150 | N/A | 150 | N/A |  |  | 150 | N/A | 150 |  | 150
| 151 | N/A | [7 empty] | 151 | N/A | 151 | N/A |  |  | 151 | N/A | 151 |  | 151
| 152 | N/A | [7 empty] | 152 | N/A | 152 | N/A |  |  | 152 | N/A | 152 |  | 152
| 153 | N/A | [7 empty] | 153 | N/A | 153 | N/A |  |  | 153 | N/A | 153 |  | 153
| 154 | N/A | [7 empty] | 154 | N/A | 154 | N/A |  |  | 154 | N/A | 154 |  | 154
| 155 | N/A | [7 empty] | 155 | N/A | 155 | N/A |  |  | 155 | N/A | 155 |  | 155
| 156 | N/A | [7 empty] | 156 | N/A | 156 | N/A |  |  | 156 | N/A | 156 |  | 156
| 157 | N/A | [7 empty] | 157 | N/A | 157 | N/A |  |  | 157 | N/A | 157 |  | 157
| 158 | N/A | [7 empty] | 158 | N/A | 158 | N/A |  |  | 158 | N/A | 158 |  | 158
| 159 | N/A | [7 empty] | 159 | N/A | 159 | N/A |  |  | 159 | N/A | 159 |  | 159
| 160 | N/A | [7 empty] | 160 | N/A | 160 | N/A |  |  | 160 | N/A | 160 |  | 160
| 161 | N/A | [7 empty] | 161 | N/A | 161 | N/A |  |  | 161 | N/A | 161 |  | 161
| 162 | N/A | [7 empty] | 162 | N/A | 162 | N/A |  |  | 162 | N/A | 162 |  | 162
| 163 | N/A | [7 empty] | 163 | N/A | 163 | N/A |  |  | 163 | N/A | 163 |  | 163
| 164 | N/A | [7 empty] | 164 | N/A | 164 | N/A |  |  | 164 | N/A | 164 |  | 164
| 165 | N/A | [7 empty] | 165 | N/A | 165 | N/A |  |  | 165 | N/A | 165 |  | 165
| 166 | N/A | [7 empty] | 166 | N/A | 166 | N/A |  |  | 166 | N/A | 166 |  | 166
| 167 | N/A | [7 empty] | 167 | N/A | 167 | N/A |  |  | 167 | N/A | 167 |  | 167
| 168 | N/A | [7 empty] | 168 | N/A | 168 | N/A |  |  | 168 | N/A | 168 |  | 168
| 169 | N/A | [7 empty] | 169 | N/A | 169 | N/A |  |  | 169 | N/A | 169 |  | 169
| 170 | N/A | [7 empty] | 170 | N/A | 170 | N/A |  |  | 170 | N/A | 170 |  | 170
| 171 | N/A | [7 empty] | 171 | N/A | 171 | N/A |  |  | 171 | N/A | 171 |  | 171
| 172 | RTU Network Discovery List Point Type |  |  |  | 1 |  |  |  | 172 | RTU Network Discovery List Point Type | 172 | N/A |  |  | 172 | N/A | 172 |  | 172
| 173 | Network Commissioned List Point Type |  |  |  | 1 |  |  |  | 173 | Network Commissioned List Point Type | 173 | N/A |  |  | 173 | N/A | 173 |  | 173
| 174 | Network Export Data |  |  |  | 1 |  |  |  | 174 | Network Export Data | 174 | Network Export Data |  |  | 174 | N/A | 174 |  | 174
| 175 | Network Import Data |  |  |  | 1 |  |  |  | 175 | Network Import Data | 175 | Network Import Data |  |  | 175 | N/A | 175 |  | 175
| 176 | IEC62591 Live List Parameters |  |  |  | 1 |  |  |  | 176 | IEC62591 Live List Parameters | 176 | IEC62591 Live List Parameters |  |  | 176 | N/A | 176 |  | 176
| 177 | IEC62591 Commissioned List Parameters |  |  |  | 1 |  |  |  | 177 | IEC62591 Commissioned List Parameters | 177 | IEC62591 Commissioned List Parameters |  |  | 177 | N/A | 177 |  | 177
| 178 | N/A |  |  |  | No more types |  |  |  | 178 | N/A |  |  |  |  | 178 | N/A | 178 |  | 178
| 179 | N/A | [7 empty] | 179 | N/A |  |  |  |  | 179 | N/A | 179 |  | 179
| 180 | N/A | [7 empty] | 180 | N/A |  |  |  |  | 180 | N/A | 180 |  | 180
| 181 | N/A | [7 empty] | 181 | N/A |  |  |  |  | 181 | N/A | 181 |  | 181
| 182 | N/A | [7 empty] | 182 | N/A |  |  |  |  | 182 | N/A | 182 |  | 182
| 183 | N/A | [7 empty] | 183 | N/A |  |  |  |  | 183 | N/A | 183 |  | 183
| 184 | N/A | [7 empty] | 184 | N/A |  |  |  |  | 184 | N/A | 184 |  | 184
| 185 | N/A | [7 empty] | 185 | N/A |  |  |  |  | 185 | N/A | 185 |  | 185
| 186 | N/A | [7 empty] | 186 | N/A |  |  |  |  | 186 | N/A | 186 |  | 186
| 187 | N/A | [7 empty] | 187 | N/A |  |  |  |  | 187 | N/A | 187 |  | 187
| 188 | N/A | [7 empty] | 188 | N/A |  |  |  |  | 188 | N/A | 188 |  | 188
| 189 | N/A | [7 empty] | 189 | N/A |  |  |  |  | 189 | N/A | 189 |  | 189
| 190 | N/A | [7 empty] | 190 | N/A |  |  |  |  | 190 | N/A | 190 |  | 190
| 191 | N/A | [7 empty] | 191 | N/A |  |  |  |  | 191 | N/A | 191 |  | 191
| 192 | N/A | [7 empty] | 192 | N/A |  |  |  |  | 192 | N/A | 192 |  | 192
| 193 | N/A | [7 empty] | 193 | N/A |  |  |  |  | 193 | N/A | 193 |  | 193
| 194 | N/A | [7 empty] | 194 | N/A |  |  |  |  | 194 | N/A | 194 |  | 194
| 195 | N/A | [7 empty] | 195 | N/A |  |  |  |  | 195 | N/A | 195 |  | 195
| 196 | N/A | [7 empty] | 196 | N/A |  |  |  |  | 196 | PMTM Tanks and Aggregates | 196 |  | 196
| 197 | N/A | [7 empty] | 197 | N/A |  |  |  |  | 197 | PMTM Wells | 197 |  | 197
| 198 | N/A | [7 empty] | 198 | N/A |  |  |  |  | 198 | PMTM Haul Logs | 198 |  | 198
| 199 | N/A | [7 empty] | 199 | N/A |  |  |  |  | 199 | PMTM Haul Ticketing | 199 |  | 199
| 200 | N/A | [7 empty] | 200 | N/A | 200 | Liquid Preferences |  |  | 200 |  | 200 |  | 200
| 201 | N/A | [7 empty] | 201 | N/A | 201 | Liquid Products |  |  | 201 |  | 201 |  | 201
| 202 | N/A | [7 empty] | 202 | N/A | 202 | Density Interface |  |  | 202 |  | 202 |  | 202
| 203 | N/A | [7 empty] | 203 | N/A | 203 | Liquid Station |  |  | 203 |  | 203 |  | 203
| 204 | N/A | [7 empty] | 204 | N/A | 204 | Liquid Meters |  |  | 204 |  | 204 |  | 204
| 205 | N/A | [7 empty] | 205 | N/A | 205 | Liquid MetersExtended |  |  | 205 |  | 205 |  | 205
| 206 | N/A | [7 empty] | 206 | N/A | 206 | Prover Configuration |  |  | 206 |  | 206 |  | 206
| 207 | N/A | [7 empty] | 207 | N/A | 207 | Prover TrialReport |  |  | 207 |  | 207 |  | 207
| 208 | N/A | [7 empty] | 208 | N/A | 208 | Prover FinalReport |  |  | 208 |  | 208 |  | 208
| 209 | N/A | [7 empty] | 209 | N/A |  |  |  |  | 209 |  | 209 |  | 209
| 210 | N/A | [7 empty] | 210 | N/A | 210 | Batch StationConfiguration |  |  | 210 |  | 210 |  | 210
| 211 | N/A | [7 empty] | 211 | N/A | 211 | Station CurrentBatch |  |  | 211 |  | 211 |  | 211
| 212 | N/A | [7 empty] | 212 | N/A | 212 | Station BatchHistory |  |  | 212 |  | 212 |  | 212
| 213 | N/A | [7 empty] | 213 | N/A | 213 | Meter CurrentBatch |  |  | 213 |  | 213 |  | 213
| 214 | N/A | [7 empty] | 214 | N/A | 214 | Meter BatchHistory |  |  | 214 |  | 214 |  | 214
| 215 | N/A | [7 empty] | 215 | N/A | 215 | Station BatchQueueConfiguration |  |  | 215 |  | 215 |  | 215
| 216 | N/A | [7 empty] | 216 | N/A | 216 | Station BatchQueue |  |  | 216 |  | 216 |  | 216
| 217 | N/A | [7 empty] | 217 | N/A |  |  |  |  | 217 |  | 217 |  | 217
| 218 | N/A | [7 empty] | 218 | N/A |  |  |  |  | 218 |  | 218 |  | 218
| 219 | N/A | [7 empty] | 219 | N/A | 219 | Reporting Program |  |  | 219 |  | 219 |  | 219
| 220 | N/A | [7 empty] | 220 | N/A | 220 | end |  |  | 220 |  | 220 |  | 220
| 221 | N/A | [7 empty] | 221 | N/A | 221 |  |  |  | 221 |  | 221 |  | 221
| 222 | N/A | [7 empty] | 222 | N/A | 222 |  |  |  | 222 |  | 222 |  | 222
| 223 | N/A | [7 empty] | 223 | N/A | 223 |  |  |  | 223 |  | 223 |  | 223
| 224 | N/A | [7 empty] | 224 | N/A | 224 |  |  |  | 224 |  | 224 |  | 224
| 225 | N/A | [7 empty] | 225 | N/A | 225 |  |  |  | 225 |  | 225 |  | 225
| 226 | N/A | [7 empty] | 226 | N/A | 226 |  |  |  | 226 |  | 226 |  | 226
| 227 | N/A | [7 empty] | 227 | N/A | 227 |  |  |  | 227 |  | 227 |  | 227
| 228 | N/A | [7 empty] | 228 | N/A | 228 |  |  |  | 228 |  | 228 |  | 228
| 229 | N/A | [7 empty] | 229 | N/A | 229 |  |  |  | 229 |  | 229 |  | 229
| 230 | N/A | [7 empty] | 230 | N/A | 230 |  |  |  | 230 |  | 230 |  | 230
| 231 | N/A | [7 empty] | 231 | N/A | 231 |  |  |  | 231 | PMTM Fluid Properties | 231 |  | 231
| 232 | N/A | [7 empty] | 232 | N/A | 232 |  |  |  | 232 | PMTM Load Outs | 232 |  | 232
| 233 | N/A | [7 empty] | 233 | N/A | 233 |  |  |  | 233 | PMTM Hauler Database | 233 |  | 233
| 234 | N/A | [7 empty] | 234 | N/A | 234 |  |  |  | 234 | PMTM Haul Current Values | 234 |  | 234
| 235 | N/A | [7 empty] | 235 | N/A | 235 |  |  |  | 235 | PMTM Simulator | 235 |  | 235
| 236 | N/A | [7 empty] | 236 | N/A | 236 |  |  |  | 236 |  | 236 |  | 236
| 237 | N/A | [7 empty] | 237 | N/A | 237 |  |  |  | 237 |  | 237 |  | 237
| 238 | N/A | [7 empty] | 238 | N/A | 238 |  |  |  | 238 |  | 238 |  | 238
| 239 | N/A | [7 empty] | 239 | N/A | 239 |  |  |  | 239 |  | 239 |  | 239
| 240 | N/A | [7 empty] | 240 | N/A | 240 |  |  |  | 240 |  | 240 |  | 240
| 241 | N/A | [7 empty] | 241 | N/A | 241 |  |  |  | 241 |  | 241 |  | 241
| 242 | N/A | [7 empty] | 242 | N/A | 242 |  |  |  | 242 |  | 242 |  | 242
| 243 | N/A | [7 empty] | 243 | N/A | 243 |  |  |  | 243 |  | 243 |  | 243
| 244 | N/A | [7 empty] | 244 | N/A | 244 |  |  |  | 244 |  | 244 |  | 244
| 245 | N/A | [7 empty] | 245 | N/A | 245 |  |  |  | 245 |  | 245 |  | 245
| 246 | N/A | [7 empty] | 246 | N/A | 246 |  |  |  | 246 |  | 246 |  | 246
| 247 | N/A | [7 empty] | 247 | N/A | 247 |  |  |  | 247 |  | 247 |  | 247
| 248 | N/A | [7 empty] | 248 | N/A | 248 |  |  |  | 248 |  | 248 |  | 248
| 249 | N/A | [7 empty] | 249 | N/A | 249 |  |  |  | 249 |  | 249 |  | 249
| 250 | N/A | [7 empty] | 250 | N/A | 250 |  |  |  | 250 |  | 250 |  | 250
| 251 | N/A | [7 empty] | 251 | N/A | 251 |  |  |  | 251 |  | 251 |  | 251
| 252 | N/A | [7 empty] | 252 | N/A | 252 |  |  |  | 252 |  | 252 |  | 252
| 253 | N/A | [7 empty] | 253 | N/A | 253 |  |  |  | 253 |  | 253 |  | 253
| 254 | N/A | [7 empty] | 254 | N/A | 254 |  |  |  | 254 |  | 254 |  | 254
| 255 | N/A | [7 empty] | 255 | N/A | 255 |  |  |  | 255 |  | 255 |  | 255

## Revisions
2020jul29 | Rev0 | PMC | Created